## Slide 1: Collision-free positioning of optical fibers
From MOONs to Sloan

## Slide 2: Program
From MOONS to Sloan : reminder
Presentation of the jobs done
Presentation of the jobs ongoing
Recap
To do list

## Slide 3: From MOONS to Sloan reminder
Specific motor arrangement
  500 motors
  Void rectangle at the center
From 1 to 3 fibers available
  Only some motors own an IR fiber
  The target is not set on the middle of the ferule anymore

## Slide 4: Job Done
Parameter program
Circles program
Set_target update for fibers
Target generator to test the program

## Slide 5: Parameter file
Purpose : group all parameters (dimensions, decentralized navigation function, simulation constants) in one text file.

## Slide 6: Parameter file
Before

## Slide 7: Parameter file
Before
After

## Slide 8: Circles program
Purpose : creating a program spawning the hexagonal shape of the positioner ensemble, containing positions and fiber properties in arrays to be used everywhere else in the software.

## Slide 9: Circles program
Purpose : creating a program spawning the hexagonal shape of the motor ensemble, containing positions and fiber properties in arrays to be used everywhere else in the software.
Operation :
  Creates a circle at position (0,0)
  Surrounds this circles with 6 circles
  Repeat the process until the wished number

## Slide 10: Circles program
Advantages :
  No need of the cfg file for the motor coordinates (very long for the entire telescope)
  Every information concerning positions and fibers automatically generated
  Easy visualization
Disadvantages :
  Hardcoding if necessity to change anything
  Rectangle at the center is programmed to be filled with motors unable to set any target

## Slide 11: Set_target update for fibers
Purpose : moving the motor to a close position of the center of the ferule, under the wished fiber

## Slide 12: Set_target update for fibers
Possibilities :
  Displacing the position of the target depending on the choice of the fiber
  Moving each motors to the target (under the center), and then ask a small displacement to move the fiber under the target
  Changing the coordinates of the wished position for each motor, depending on the wished fiber

## Slide 13: Set_target update for fibers
Possibilities :
  Displacing the position of the target depending on the choice of the fiber -> adds confusion and problems for visualization.
  Moving each motors to the target (under the center), and then ask a small displacement to move the fiber under the target -> clash and DNF problems
  Changing the coordinates of the wished position for each motor, depending on the wished fiber (modifying the set_target in fps_shared script).

## Slide 14: Set_target update for fibers

## Slide 15: Set_target update for fibers
No correction
With correction

## Slide 16: Set_target update for fibers
No correction
With correction
With correction x4

## Slide 17: Set_target update for fibers
No correction
With correction
With correction x4

## Slide 18: Target generator
Purpose : having a bank of target files to test the software when ready
5 types :
  Random
  Random with normal distribution on the center
  Focused on a random place
  Focused on a random place with normal distribution
  Homogeneous (looks like former target files)
Plots available

## Slide 19: Target generator
Random
Random normal
Homogeneous
Focus normal
Focus

## Slide 20: Ongoing job : fiber attribution
Purpose : set a motor to a target only if this motor contains the necessary fiber

## Slide 21: Ongoing job : fiber attribution
Purpose : set a positioner to a target only if this motor contains the necessary fiber
Operation :
  New column in the target file, indicating which fiber to choose
R positioner coord. | Theta positioner coord. | R target coord. | Theta target coord. | Arg 1 parity | Arg 2 parity | Priority positioner | Fiber
Before
After

## Slide 22: Ongoing job : fiber attribution
Purpose : set a positioner to a target only if this motor contains the necessary fiber
Operation :
  New column in the target file, indicating which fiber to choose
  Program generating random fiber attribution to any former target file
  If a positioner is “empty” (empty rectangle for Sloan) or a fiducial, target is not set
  If the target needs IR fiber, but the proposed positioner only has visible and calibration, target is not set
  If the target needs IR fiber, and the proposed positioner owns an IR fiber, nothing changes
  If the target needs visible or calibration fiber, nothing changes

## Slide 23: Ongoing job : fiber attribution
Operation :
  New column in the target file, indicating which fiber to choose
  Program generating random fiber attribution to any former target file
  If a positioner is “empty” (empty rectangle for Sloan) or a fiducial, target not set
  If the target needs IR fiber, but the proposed motor only has visible and calibration, target not set
  If the target needs IR fiber, and the proposed motor owns an IR fiber, nothing changes
  If the target needs visible or calibration fiber, nothing changes

## Slide 24: Recap
Parameter script and file managing parameters throughout the entire program.
Sloan positioner ensemble structure ready
Set_target updated for fibers
Target generator allow the test of the program when ready
Fiber attribution working: a visible-calibration positioner can not be set on a IR target. Fake (“empty”) and fiducial can not be set either.
Visualization problems
  (don’t make updates 1 week before a presentation…)

## Slide 25: To do
Fix visualization problems
Add fiducials in the DNF (to prevent positioner-fiducial clashes)
Commenting the code achieved (not yet began)
Making the code more elegant ?
Former to do list :
  Improve algorithm to increase convergence rate
  Improve prioritization

## Slide 26: Thanks!
Any question/request?